## summary
Project Name: |  | F28
Checked by: |  | Liser Elena
Number: |  | 1 (HMB - Structural)
Date Checked: |  | 0
For full description of the requirements please see the list below
All the drawings have to be in iCAD standard 2005 rev 8.0 Supplement to the National CAD standard version 3.0
Drawing that does not follow iCAD standards will be returned for correction.
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18
Drawing # | DWG | Title | Dwg | Layout | X-Ref | X-Ref | X-Ref | Layer | Layer | Model/ | Text | Blocks | Annot. | North | Rev | Dim. | Ltype | Purge | Notes
| File | Block | created | with |  | 0,0,0 | Path | 0 | name | Paper |  |  | Symbols | Arrow | descrip | Style
| no. | Name | correctly | X-Ref |  |  |  | empty
For Clarifications Turn To:
Tzeitin Lili 68-57628
Liser Elena 68-57627

## extractions
thisdwg | KSA-1-OV.dwg | Check 1 analysis |  |  |  |  | Check 2 analysis |  |  |  | Check 3 analysis |  |  |  |  | Check 4 analysis |  | Check 5 analysis |  | Check 6 analysis |  | Check 7 analysis |  |  | chk4 |  | xrefname | Path |  | 1-anon | 2-atts | 4-xref | 8-overlay | 16-externally dependant | 32-resolved | Origin ok? | Has path? | w/o dwg | Origin problem? | Key? | length error? | is in list? | is 8 letters? | first letter G or R? | 2nd is letter | IsLegal? | SumLegal |  | Check 8 analysis |  | Check 9 analysis |  | chk9 | name | entqty | Check 10 analysis |  | Check 11 analysis | [8 empty] | Legend |  | font | Remainder | Multiple | expected size | Text entities |  |  |  |  | Check 12 analysis | [5 empty] | Check 13 analysis |  | Check 14 analysis |  | Check 15 analysis | [5 empty] | chk16 | name | 70 resolve | 40 dimscale | 45 dimrnd | 140 dimtxt | 144 dimlfac | 77 dimtad | 176 dimclrd | 177 dimclre | 178 dimclrt | 271 dimdec | 275 dimaunit | 278 dimfit | 289 dimatfit | 340 dimtsxty | 341 | 342 | 343 | 344 | 371 | 372 |  |  | no | legal | suffix | dashed suffix |  | Dimstyle | Dimscale | dimEntities | DecimalSeparator | DimensionLineColor | DimensionLineExtend | DimensionLinetype | ExtensionLineColor | ExtensionLineExtend | ExtensionLineOffset | Fit | HorizontalTextPosition | Layer | LinearScaleFactor | Measurement | ObjectName | PrimaryUnitsPrecision | Rotation | RoundDistance | ScaleFactor | StyleName | TextColor | TextFill | TextHeight | TextOverride | TextPrefix | TextRotation | TextStyle | TextSuffix | UnitsFormat | chk17 | x |  | chk18 | -
date |  | 1. Drawing number should be per the Naming convention and equal to the file number. |  |  |  |  | 2. Title name should be by standard. |  |  |  | 3. Drawing should be created according to Fab 28 Construction specific CAD guide: |  |  |  |  | 4. Layout drawing should have external references (X-Ref) |  | 5. Should be used just two types of background drawings: |  | 6. X-Ref's insertion point should be Lachish Campus 0,0,0. |  | 7. X-Ref's saved path should contain only X-Ref dwg name (without the path). |  |  | chk5 | XrefList | GKEY | GKEY.dwg | 12 |  |  | Yes | Yes |  |  | Yes | No |  | No |  |  | Yes | No | Yes | Yes | Yes | 0 | K | 8. Layer "0" must be empty of all entities, (only blocks should be created on layer "0"). |  | 9. Layer name per standard (color & line type by layer). |  |  | 0 |  | 10. Paper space: Title block, Key plan, General & Key notes, Legends |  | 11. Style & size of text by standard. | [8 empty] | STANDARD | 2.38 | arial.ttf | 0 | 1 | 6.35 | 2.38 | 0 | dfsaa | TITLE | model space | 12. The standard blocks should be used in the drawings. Do not redefine or explode the standard blocks! | [5 empty] | The drawings should have annotation symbols with cross directions include drawing number: annotation symbols of layout drawing should |  | North arrow in the layout & enlarged views drawings of Lachish Campus should point left. |  | 15. All record drawings should have two revisions only: Rev.0, revision description: IFC (Issued for construction) | [5 empty] | dimstyle | STANDARD | 0 | 1 | [18 empty] | dimscaleok | No |  | Yes |  |  | 1 | STANDARD | 1 |  | , | 256 | 0 | ByBlock | 256 | 1 | 1 | 3 | 0 | 0 | 1 | 96.2812 | AcDbRotatedDimension | 0 | 0 | 0 | 1 | STANDARD | 0 | FALSE | 2.38 |  |  | 0 | STANDARD |  | 2
filename format ok? | [10 empty] | - layout View drawings should have a Master X-Ref (for example: KBA-1-C- should be based on GBA-1-OV) | [6 empty] | - Existing X-Ref | [6 empty] | chk6 |  | GSA-1-OV | GSA-1-OV.dwg | 12 |  |  | Yes | Yes |  |  | Yes | No |  | No |  |  | No | Yes | Yes | Yes | Yes | 0 | [6 empty] | DEFPOINTS |  | Model space: | layout - just X-Ref drawings | [9 empty] | MONO | 2.38 | monos.ttf | 0 | 1 | 2.38 | 2.38 | G-ANNO-NOTE | FIELD ROUTE CONDUIT FROM LEVEL 1 INTERNAL TRAY TO EXTERNAL FOR VOICE | STANDARD | paper space | The designer can create a new block if required, but the new block names should be according to standard. | [5 empty] | point to non layout drawing and non layout drawing should have annotation symbol include layout drawing number. | [5 empty] | Rev. 1, revision description: Record drawing |  |  |  |  | STANDARD100 |  | 100 | [18 empty] | chk16 | x |  | Yes | 100 | 0 | 2 | STANDARD100 | 100 |  | , | 256 | 0 | ByBlock | 256 | 1 | 1 | 3 | 0 | 0 | 1 | 200.7144 | AcDbAlignedDimension | 0 | 0 | 0 | 1 | STANDARD | 0 | FALSE | 2.38 |  |  | 0 | STANDARD |  | 2 | chk17 | name | found
|  | KSA-1-OV.dwg |  |  |  |  | titleinmodel | 0 |  |  | - non layout drawings can be without x-refs (except of enlarged views). |  |  |  |  | Is enlarged? | No | - New X-Refs created according to Fab 28 Construction specific CAD guide |  | hasOriginProblem | Yes | hasPathProblem | No | chk7 | chk7 |  | GSG-0-E- | GSG-0-E-.dwg | 12 |  |  | Yes | Yes |  |  | Yes | No |  | No |  |  | No | Yes | Yes | Yes | Yes | 0 |  | layer0ents | 2 | chk9 | - |  | G-ANNO-TTLB |  |  | non layout – X-Ref or/and main drawings (technical information) | [9 empty] | SUBTITLE | 4.76 | arialbd.ttf | 0 | 1 | 2.38 | 2.38 | G-ANNO-NOTE | ALL OUTLETS AND PHONES TO BE LABELLED AS PER THE INTEL LABELLING | STANDARD | paper space | [17 empty] | STANDARD-200 |  | 150 | [20 empty] | 1 | No | -200 | 200 | 3 | STANDARD-200 | 150 |  | , | 256 | 0 | ByBlock | 256 | 1 | 1 | 3 | 0 | 0 | 1 | 302.6977 | AcDbRotatedDimension | 0 | 0 | 0 | 1 | STANDARD | 0 | FALSE | 2.38 |  |  | 0 | STANDARD |  | 2 | linetype | BYBLOCK | 0
|  | KSA-1-OV |  | According to the naming convention |  |  | titleinpaper | 1 | [7 empty] | Is layout? | Yes |  |  | chk6 | x | chk7 | ok |  |  |  | GSKEY-E- | GSKEY-E-.dwg | 12 |  |  | Yes | Yes |  |  | Yes | No |  | No |  |  | Yes | Yes | Yes | Yes | Yes | 0 |  | chk8 | x |  |  |  | xrf |  |  |  | chk11 | name | Big Font | Font File | Text ht | Text width | Legal name? | Legal ht | font file accurate | TITLE | 6.35 | arialbd.ttf | 0 | 1 | 2.38 | 2.38 | G-ANNO-NOTE | ALL COMMUNICATIONS TRAY TO HAVE 100mm HIGH SIDES EXCEPT WHERE | STANDARD | paper space |  |  |  | chk12 | x |  | hasAnno | Yes | IsCivil | No | chk15 | ok | record dwg in rev | Yes | [30 empty] | 4 |  | 0 |  | , | 256 | 0 | ByBlock | 256 | 1 | 1 | 3 | 0 | 0 | 1 | 371.2577 | AcDbRotatedDimension | 0 | 0 | 0 | 1 | STANDARD | 0 | FALSE | 2.38 |  |  | 0 | STANDARD |  | 2 |  | BYLAYER | 0
|  | First | K | this file is: | a layout | drawing | titleunique | Yes |  |  | is view? | Yes |  |  |  | Are there xrefs? | Yes | [9 empty] | GSS-1-OV | GSS-1-OV.dwg | 12 |  |  | Yes | Yes |  |  | Yes | No |  | No |  |  | No | Yes | Yes | Yes | Yes | 0 | [6 empty] | G-ANNO-NOTE |  | is Layout? | Yes | textstyle | STANDARD |  | arial.ttf | 0 | 1 | 0 | 0 | 0 |  |  |  | 0 | 1 | 2.38 | 2.38 | G-ANNO-NOTE | FINAL LOCATION OF TELECOMMUNICATION OUTLETS TO BE COORDINATED WITH | STANDARD | paper space | chk12 | name | 1 | 1 | has bind error | Yes | chk13 | na | IsLayout | Yes | [34 empty] | 5 |  | 0 | [29 empty] | CONTINUOUS | 0
|  | Second | S | it is | a view | file | titlelayer | G-ANNO-TTLB |  |  | isEnlarged view? | No |  | View | Xref | [11 empty] | I1184sht_F | I1184sht_F.dwg | 12 |  |  | Yes | Yes |  |  | Yes | No |  | No |  |  | Yes | No | No | No | Yes | 0 | [11 empty] | TITLE |  | arialbd.ttf | 0 | 1 | 0 | 0 | 0 |  |  |  | 0 | 1 | 2.38 | 2.38 | G-ANNO-NOTE | CONDUITS ROUTED PERPENDICULAR THROUGH FLOORS, WALLS, OR OTHER | STANDARD | paper space | blockname | IBLK_1 | 0 | 0 | has dollar error | Yes |  |  | IsEnlargement | No | chk15 | R1NO | R1DESC | R1APPR | R1DATE | R1BY | [28 empty] | 6 |  | 0 | [29 empty] | CENTER | 0
|  | Third | A | it shows | CUB | design |  |  |  |  | IsLayout | Yes |  | K | G | chk4 | ok | chk5 | x | [7 empty] | GST-1-OV | GST-1-OV.dwg | 12 |  |  | Yes | Yes |  |  | Yes | No |  | No |  |  | No | Yes | Yes | Yes | Yes | 0 |  | Viewport entities not shown in list | [6 empty] | Entity count |  |  | SUBTITLE |  | arialbd.ttf |  |  | 0 | 0 | 0 |  |  |  | 0 | 1 | 2.38 | 2.38 | G-ANNO-NOTE | EXPOSED CONDUITS AND WIREWAYS, INCLUDING RACEWAYS, TOGETHER WITH | STANDARD | paper space |  | GKEY | 0 | 0 |  |  |  |  | NorthInPaper | Yes | 947.7,165.3,0 | [33 empty] | 7 |  | 0 | [29 empty] | SDIVIDE | 0
|  | Fourth | - | of the | Architectural | discipline | Extractions from title block: |  |  |  | Proper xref name | GSA-1-OV |  | M | R | [11 empty] | GSI-1-OV | GSI-1-OV.dwg | 12 |  |  | Yes | Yes |  |  | No | No |  | Yes |  |  | No | Yes | Yes | Yes | Yes | 0 |  | Entities in drawing | [6 empty] | papertext | 31 | [12 empty] | 0 | 1 | 2.38 | 2.38 | G-ANNO-NOTE | REFER TO DRAWING KST-0050 FOR GENERAL NOTES, LEGENDS AND | STANDARD | paper space |  | I1184sht | 0 | 0 |  |  |  |  | AngleOK | No | 947.7,178,0 | [33 empty] | 8 |  | 0 | [29 empty] | CW | 0
|  | Fifth | 1 | type is | Layout |  | OldNum | - | [18 empty] | GSME1-OV | GSME1-OV.dwg | 12 |  |  | Yes | Yes |  | Yes | Yes | No |  | No |  |  | No | Yes | Yes | Yes | Yes | 0 |  | Layer0 model | Layer 0 paper | [5 empty] | paperblks | 11 | [12 empty] | 0 | 1 | 2.38 | 2.38 | G-ANNO-NOTE | 1 | STANDARD | paper space |  | GSKEY-F- | 0 | 0 | [6 empty] | 947.7,184.35,0 | [33 empty] | 9 |  | 0 | [29 empty] | CW | 0
|  | Sixth | - | Level is: | Level 1 (Ground) |  | Fwr | - | [18 empty] | AKfdf | [15 empty] | No | No | Yes | No | 1 | [8 empty] | paperlines | 0 | [12 empty] | 0 | 1 | 2.38 | 2.38 | G-ANNO-NOTE | REQUIREMENTS OUTSIDE. | STANDARD | paper space |  | GSG-0-F- | 0 | 0 |  |  |  |  | chk14 | x | 947.7,171.65,0 | [33 empty] | 10 |  | 0 | [29 empty] | HW | 0
|  | Seventh | O | in sector | Overview |  | Rev | 1 1 |  |  | xref found? | Yes | [34 empty] | 0 | [8 empty] | papercircles | 0 | [12 empty] | 0 | 1 | 6.35 | 6.35 | G-ANNO-NOTE | GENERAL NOTES | TITLE | paper space |  | GSA-2-OV | 0 | 0 | [6 empty] | 947.7,146.25,0 | 0 | RECORD DRAWING | COK | 2006-07-31 | [29 empty] | 11 |  | 0 | [29 empty] | MCENTER | 0
|  | Eighth | V |  |  |  | PlotScale | 1=1 | [38 empty] | 0 | [8 empty] | paperall | 44 | [12 empty] | 0 | 1 | 6.35 | 6.35 | G-ANNO-NOTE | KEYED NOTES | TITLE | paper space |  | GSS-2-OV | 0 | 0 |  |  |  |  | northarrowqty | 1 | 947.7,158.95,0 | [33 empty] | 12 |  | 0 | [29 empty] | CONTINUOUS | 0
|  | Ninth | . | The drawing name and drawing |  |  | Scale | 1=100 | NO in title? | No | Result of chk3 | ok | [34 empty] | 0 | [8 empty] | modeltext | 0 | [12 empty] | 0 | 1 | 2.38 | 2.38 | G-ANNO-NOTE | SPECIFICATION (16076). | STANDARD | paper space |  | I1184sht_F | 0 | 0 |  |  |  |  | northarrowangle | 90 | 947.7,152.6,0 | 1 |  | COK | 2008-01-06 | [29 empty] | 13 |  | 0 | [29 empty] | BYLAYER | 0
|  |  |  | number are | not equal |  | Title1 | LC13 - COMMUNICATIONS | LC in title? | Yes | [36 empty] | 0 | [8 empty] | modelblks | 7 | [12 empty] | 0 | 1 | 2.38 | 2.38 | G-ANNO-NOTE | F | STANDARD | paper space |  | GST-2-OV | 0 | 0 |  |  |  |  | northxscale | -1 | [66 empty] | SDASH | 0
|  | First letter | K |  |  |  | Title2 | OFFICE/ROOF LEVEL - 2 | Level in title? | Yes | xref name should be: |  | grid xref should be | [33 empty] | 0 | [8 empty] | modellines | 0 | [9 empty] | name problem | No |  | 0 | 1 | 2.38 | 2.38 | G-ANNO-NOTE | E | STANDARD | paper space |  | GSME2-OV | 0 | 0 | [72 empty] | FISH | 1
|  | Allowed | Yes |  |  |  | Title3 | SECTOR F | Sector or Overview in title? | Yes | first letter: | G | G | [33 empty] | 0 | [8 empty] | modelcircles | 0 | [9 empty] | textHtProblem | No |  | 0 | 1 | 2.38 | 2.38 | G-ANNO-NOTE | OTHERWISE NOTED. | STANDARD | paper space |  | new block | 0 | 0
|  | IsView | Yes |  |  |  | Title4 | LEGEND DIAGRAM ELEVATION | Layout or View in title? | No | second letter: | S | S | [33 empty] | 0 | [8 empty] | modelall | 7 | [9 empty] | style height 0 | Yes |  | 0 | 1 | 2.38 | 2.38 | G-ANNO-NOTE | OWNER AND IT CONSTRUCTION MANAGER. | STANDARD | paper space |  | $0$G-INORTH | 1 | 1
[7 empty] | File | KST-2-F- |  |  | third letter: | A | G | [33 empty] | 0 | [8 empty] | xrefsinmodel | 7 | [9 empty] | fonts ok? | Yes |  | 0 | 1 | 2.38 | 2.38 | G-ANNO-NOTE | D | STANDARD | paper space |  | G-DONUT | 0 | 0
|  | Second letter | S |  |  |  | DwgNum | KST-2-F- |  |  | fourth letter: | - | - | [33 empty] | 0 | [8 empty] | chk10 | ok | [9 empty] | chk11 | ok | [11 empty] | 0 | 0
|  | Building | CUB |  |  |  | DwgDate |  |  |  | fifth letter: | 1 | 0 | [33 empty] | 0 | [32 empty] | 0 | 0
|  | Second letter allowed? | Yes |  |  |  | CheckDate |  |  |  | sixth letter: | - | - | [33 empty] | 0 | [32 empty] | 0 | 0
|  | Letter34 - Discipline | A- |  |  |  | CrsDate |  |  |  | seventh letter: | O | O | [33 empty] | 0 | [32 empty] | 0 | 0
|  | Discipline | Architectural |  |  |  | SafDate |  |  |  | Eighth letter: | V | V | [33 empty] | 0 | [32 empty] | 0 | 0
[7 empty] | PlaDate | [39 empty] | 0 | [32 empty] | 0 | 0
|  | Letter256 | S1- |  |  |  | EngDate |  |  |  | Xref for check: | GSA-1-OV | GSG-0-OV | [33 empty] | 0 | [32 empty] | 0 | 0
|  | Level | Level 1 (Ground) |  |  |  | AppDate | [39 empty] | 0 | [32 empty] | 0 | 0
[7 empty] | Drawn | JDi | [38 empty] | 0 | [32 empty] | 0 | 0
|  | Sixth letter | - |  |  |  | Checked | [39 empty] | 0 | [32 empty] | 0 | 0
|  | Sublevel | #N/A |  |  |  | CrossCheck | [39 empty] | 0 | [32 empty] | 0 | 0
[7 empty] | Safety | [39 empty] | 0 | [32 empty] | 0 | 0
|  | Letter78 | OV |  |  |  | Planning | [39 empty] | 0 | [32 empty] | 0 | 0
|  | Sector | Overview |  |  |  | Engineer | [39 empty] | 0 | [32 empty] | 0 | 0
[7 empty] | Approved | [39 empty] | 0 | [32 empty] | 0 | 0
|  | Letter5678 | 1-OV |  |  |  | EqtCode | [39 empty] | 0 | [32 empty] | 0 | 0
|  | Series | na |  |  |  | hasTitleBlock | Yes | [38 empty] | 0 | [32 empty] | 0 | 0
[7 empty] | Title in model? | No | [38 empty] | 0 | [32 empty] | 0 | 0
|  | Eight letters? | Yes |  |  |  | Title in paper? | Yes | [38 empty] | 0 | [32 empty] | 0 | 0
|  | Disciple ok? | Yes |  |  |  | Title unique? | Yes | [38 empty] | 0 | [32 empty] | 0 | 0
|  | Is layout? | Yes |  |  |  | Title1 proper? | Yes | [38 empty] | 0 | [32 empty] | 0 | 0
|  | IsView | Yes |  |  |  | Title 2 proper? | Yes | [71 empty] | 0 | 0
[7 empty] | Title 3 proper? | Yes | [71 empty] | 0 | 0
|  | Check 1 | x |  |  |  | Title 4 proper? | No | [71 empty] | 0 | 0
|  | Value5678 | na |  |  |  | Scale format ok? | Yes | 2 | [70 empty] | 0 | 0
|  | IsEnlarged | No |  |  |  | Plotscale ok? | Yes | [71 empty] | 0 | 0
|  | IsSection | No |  |  |  | On correct layer? | Yes | G-ANNO-TTLB
|  | IsElevation | No |  |  |  | Result of chk2 | x
|  | IsDetail | No
IsView | Yes

## chk1
A- | Architectural |  |  |  | A | Site-Old drawing |  |  | OV | [6 empty] | B0- | Level 0 (Underground) | OV | Overview | A | Above Floor-Fandeck for Fab
AF | Architectural - Furniture and Cubicle Layout |  |  |  | C | Campus |  |  | A- | [6 empty] | B1- | Level 1 (Utilities) | A- | Sector A- | W | Clean Room Partition Walls-Fan Deck
AI | Architectural - Interiors |  |  |  | X | Campus - shared |  |  | B- | [6 empty] | B2- | Level 2 (Sub Fab) | B- | Sector B- | B | Raised Flooring
AS | Architectural - Signage |  |  |  | B | Fab |  |  | C- | [6 empty] | B3- | Level 3 (Fab) | C- | Sector C- | C | Partition Height
AT | Architectural - Environment |  |  |  | O | MSB |  |  | D- | [6 empty] | B4- | Level 4 (Interstitial) | D- | Sector D- | D | Reflected Ceiling Plans
AP | Architectural - Drop Road Points (for CR only) |  |  |  | S | CUB |  |  | E- | [6 empty] | B4A | Level 4A (Fan Deck) | E- | Sector E- | E | Catwalks
AC | Architectural - Clean area preliminary design |  |  |  | W | Warehouse LC4E |  |  | F- | [6 empty] | B5- | Level 5 (None) | F- | Sector F- | U | Under Slab
C- | Civil |  |  |  | K | PMB |  |  | G- | [6 empty] | B6- | Level 6 (Roof) | G- | Sector G- | M | Mezzanine Floor
CA | Civil – Aerial Photography |  |  |  | H | HMB |  |  | H- | [6 empty] | B7- | Level 7 (Upper Roof) | H- | Sector H- | L | Mezzanine Ceiling
CB | Civil - Gates |  |  |  | G | North Guard House |  |  | AA | [6 empty] | S0- | Level 0 (Underground) | AA | Sector AA
CC | Civil - Cathode |  |  |  | L | West Guard House |  |  | BB | [6 empty] | S1- | Level 1 (Ground) | BB | Sector BB
CD | Civil - Drainage |  |  |  | Q | South Guard House |  |  | CC | [6 empty] | S2- | Level 2 (Office-Roof) | CC | Sector CC
CE | Civil – Earth Work |  |  |  | V | East Guard House |  |  | DD | [6 empty] | S3- | Level 3 (Roof) | DD | Sector DD
CF | Civil - Fence |  |  |  | I | IQ Staging area |  |  | EE | [6 empty] | W0- | Level 0 | EE | Sector EE
CI | Civil - Irrigation |  |  |  | D | DVR station |  |  | FF | [6 empty] | W1- | Level 1 | FF | Sector FF
CL | Civil - Landscape |  |  |  | F | Pump house |  |  | GG | [6 empty] | W2- | Level 2 | GG | Sector GG
CM | Civil - Measurement |  |  |  | E | Substation building | [9 empty] | W3- | Level 3
CS | Civil - Signage |  |  |  | T | Substation Yard | [9 empty] | E0- | Level 0
CT | Civil – Traffic |  |  |  | R | CuW building | [9 empty] | E1- | Level 1
CU | Civil - Water supply for Sewage & Waste |  |  |  | Y | Bulk Gas Yard | [9 empty] | E2- | Level 2
CG | Civil - Gardening |  |  |  | Z | MLCP | [9 empty] | E3- | Level 3
CP | Civil - Planting |  |  |  | U | LPG | [9 empty] | Y0- | Level 0
CW | Civil - Temporary construction fence north area Phase 1 |  |  |  | N | Induction | [9 empty] | Y1- | Level 1
CX | Civil - Temporary construction fence north area Phase 2 |  |  |  | P | OET | [9 empty] | Y2- | Level 2
CY | Civil - Temporary construction fence north area Phase 3 |  |  |  | M | OET-OB | [9 empty] | Y3- | Level 3
CZ | Civil - Temporary construction fence north area Phase 4 |  |  |  | 2 | Trailers 100/150 | [9 empty] | L0- | Level 0
E- | Electrical |  |  |  | 3 | Contractors staging area | [9 empty] | L1- | Level 1
EG | Electrical - Grounding |  |  |  | 8 | Purge gases yard | [9 empty] | L2- | Level 2
EL | Electrical - lighting |  |  |  | 9 | Cleanpak construction in Fab, change 9 to B | [9 empty] | L3- | Level 3
EN | Electrical - lightning |  |  |  | 1 | Cleanpak construction in MSB, change 4 to O | [9 empty] | Q0- | Level 0
EP | Electrical - Power |  |  |  | 4 | MWZ construction in MSB, change 5 to O | [9 empty] | Q1- | Level 1
EC | Electrical - Temporary |  |  |  | 5 | Construction in Cub cooling tower, change 6 to S | [9 empty] | Q2- | Level 2
EO | Electrical - Pop out |  |  |  | 6 | Construction in Cub UPW Tank farm, change 7 to S | [9 empty] | Q3- | Level 3
ET | Electrical - Cable Tray / Conduit | [14 empty] | V0- | Level 0
EI | Electrical - ionization (Cleanpak) | [14 empty] | V1- | Level 1
EA | Electrical – TAS / VPMS (PSSS system) | [14 empty] | V2- | Level 2
EB | Electrical – BCDS (PSSS system) | [14 empty] | V3- | Level 3
ER | Electrical – PSDS, PCDS (PSSS system) | [14 empty] | Z0- | Level 0 (Underground)
ES | Electrical – Specialty gas (PSSS system) | [14 empty] | Z1- | Level 1 (Ground)
R- | Emergency Response Team | [14 empty] | Z2- | Level 2
F- | Fire Protection | [14 empty] | Z3- | Level 3
FZ | Fire Protection – zones | Details | Section, elevation | Enlarged |  |  |  |  | keyword1 | keyword2 | keyword3 | haskw1 | haskw2 | haskw3 |  | Z4- | Level 4
FS | Fire Protection – seismic | 0 |  |  | No | 1 | 99 | Cover sheets, legends, abbreviation sheets & notes | sheet | legend | note | No | Yes | No | 0 | Z4A | Level 5 (Roof)
G- | General – grid, key plan, blocks, symbols, cover sheet | 0 |  |  | No | 100 | 199 | Functional matrix, schedules and index sheets | sheet | matrix | schedule | No | No | No | 0 | O0- | Level 0 (Underground)
GC | General – Clean level division (for CR only) | 0 |  |  | No | 200 | 1499 | Diagrams and schematics (e.g. block, ladder, one-line and riser diagrams, PLC Communication), Electrical panel | diagram | schematic | panel | Yes | No | No | 0 | O1- | Level 1 (Ground)
GP | General – Pop out division |  |  | 0 | No | 2000 | 2599 | Enlarged views (partial plans), Plans of stair & elevators, sections of stair & elevators | enlarge | stair |  | No | No | No | 0 | O2- | Level 2 (Sub Fab)
H- | Life Safety-Basic Life Safety |  | 0 |  | No | 2600 | 2799 | Clean Room – sections & elevations | section | elev |  | No | Yes | No | 0 | O3- | Level 3 (Fab)
HE | Life Safety-Smoke Detection/Equipment | 0 |  |  | No | 2800 | 2899 | Clean Room – details | detail |  |  | No | No | No | 0 | O4- | Level 4 (Office)
HD | Life Safety-Smoke Detection/Dampers interface | 0 |  |  | No | 3000 | 3999 | Instrumentation Loop Diagrams | diagram |  |  | Yes | No | No | 0 | O5- | Level 5 (Office)
HH | Life Safety-HPM Monitoring | 0 |  |  | No | 4000 | 4999 | MCC Block I\O (for I&C only) | block |  |  | No | No | No | 0 | O6- | Level 6 (Roof)
HM | Life safety - Music | 0 |  |  | No | 5000 | 5999 | for I & C only: Compact Control Panel PLC Control Panel PLC Front view PLC Component layout PLC Internal wiring PLC BOM Wiring method Wiring diagrams Terminal arrangement | panel | wiring | plc | No | No | No | 0
HR | Life safety - Radio | 0 |  |  | No | 6000 | 6999 | for I & C and LSS: LCP & I/O Panel LCP Front view LCP Component layout LCP Internal wiring LCP BOM Wiring method Wiring diagrams Terminal arrangement PDP (Power Distribution Panel) for I & C and LSS: LCP & I/O Panel LCP Front view LCP Component layout LCP Internal wiring LCP BOM Wiring method Wiring diagrams Terminal arrangement PDP (Power Distribution Panel) | panel | wiring | lcp | No | No | No | 0
HS | Life safety - Security |  |  | 0 | No | 7000 | 7199 | Enlarged views, stairs and elevators | enlarge | stair |  | No | No | No | 0
V- | Evacuation / Code |  | 0 |  | No | 7200 | 7399 | Sections | section |  |  | No | No | No | 0
I- | I&C (Instrumentation and Controls) |  | 0 |  | No | 7400 | 7599 | Interior,Exterior elevs and sections | elev | section |  | Yes | No | No | 0
IC | I&C – FMS Controlnet network | 0 |  |  | No | 7600 | 7999 | Details, wall types, isometrics Civil Profiles | detail | wall | profile | No | No | No | 0
IF | I&C – FFU Control System (for CR only) | 0 |  |  | No | 8000 | 8050 | Traffic circulation | traffic |  |  | No | No | No | 0
II | I&C - location | 0 |  |  | No | 9800 | 9999 | Electrical - Wiring diagrams (MCC), LCP & INTERCONNECTIONS | wir | mcc | lcp | No | No | No | 0
IM | I&C – CAPMS (Clean room Airborne Particle Monitoring System) | isDetail | isSection | isEnlarged | [10 empty] | title4WithKeyWord?
IP | I&C - zero pressure system | No | No | No | [10 empty] | No
Z- | I&C from vendor
K- | Food Services
ME | Mechanical - Equipment
MG | Mechanical - General
MM | Mechanical – HVAC Dry Systems
M- | Mechanical – HVAC Wet Systems
MH | Mechanical – Exhaust Systems
MB | Mechanical – Exhaust Systems (PSSS only: BCDS)
MP | Mechanical – Exhaust Systems (PSSS only: PCDS)
MA | Mechanical – Exhaust Systems (PSSS only: Spec Gas systems)
MS | Mechanical – Support
PL | Plumbing (General or BCDS)
PY | Plumbing (PSSS only: PCDS)
P- | Process
PE | Process - Equipment
PW | Process - Water (General or BCDS)
PZ | Process - Water (PSSS only: PCDS)
PA | Process - Compressed Air (General or BCDS)
PK | Process - Compressed Air (PSSS only: PCDS)
PV | Process - Vacuum System
PU | Process - UPW (General or BCDS)
PT | Process - UPW (PSSS only: PCDS)
PD | Process - Waste System (General or BCDS)
PR | Process - Waste System (PSSS only: PCDS)
PC | Process - Bulk Feed Chemical
PB | Process - PSSS only: BCDS (Bulk Chemical Distribution Systems)
PH | Process - BCDS Equipment (PSSS only)
PP | Process – PSSS only: PCDS (Planar Chemical Distribution Systems)
PJ | Process - PCDS Equipment (PSSS only)
PS | Process - Specialty Gas (PSSS only)
PF | Process - Specialty Gas Equipment (PSSS only)
PG | Process - Bulk Gas (General or BCDS)
PN | Process - Bulk Gas (PSSS only: PCDS)
PM | Process - Bulk Gas (PSSS only: Spec Gas)
PX | Process Space Management (Superposition ONLY)
S- | Structural
SR | Structural - Reinforcement
SS | Structural - Support / Base plates
SD | Structural – Drain Support
ST | Structural - Prefabricated ("TROMI")
SX | Structural - Secondary Steel
SP | Structural – Steel Support Drop Road
T- | Telecommunications
TC | Telecommunications - Cabling
TE | Telecommunications - Equipment
TF | Telecommunications - FMS
TT | Telecommunications – Tray & conduit
X- | Space Management (Superposition ONLY)
XE | Space Management – Equipment
XP | Space Management - Penetration
XF | Space Management – Foundation
XA | Space Management – Shafts
XS | Space Management – Support
XT | Space Management – Cable tray foundation loads
XL | Space Management – Piping foundation loads

## chk2
Allowed plot scale content | Allowed scale content |  | Scale | Format
1=1 | 1 |  | 0 | 1:
1:1 | 2 |  | 100 | 1=
1 : 1 | 5 |  | 0 | 1 =
1 = 1 | 10 |  | 0 | 1 :
| 20 |  | 0 | 1 =
| 25 |  | 0 | 1 :
| 50 |  | 0 | 1:
| 100 |  | 0 | 1=
200
| 250 | title scale | 100
| 500 | allowed? | Yes
1000
2000
2500
5000
10000
20000

## chk5
Atypical xrefs
GBKEY-A-.dwg
GBKEY-AA.dwg
GBKEY-B-.dwg
GBKEY-C-.dwg
GBKEY-CC.dwg
GBKEY-D-.dwg
GBKEY-E-.dwg
GBKEY-EE.dwg
GBKEY-F-.dwg
GBKEY-G-.dwg
GBKEY-GG.dwg
GBKEY-H-.dwg
GBKEY-OV.dwg
GCKEY-OV.dwg
GEKEY.dwg
GKEY.dwg
GKKEY-OV.dwg
GOKEY-A-.dwg
GOKEY-B-.dwg
GOKEY-C-.dwg
GOKEY-D-.dwg
GOKEY-OV.dwg
GSKEY-A-.dwg
GSKEY-B-.dwg
GSKEY-BB.dwg
GSKEY-C-.dwg
GSKEY-D-.dwg
GSKEY-DD.dwg
GSKEY-E-.dwg
GSKEY-F-.dwg
GSKEY-FF.dwg
GSKEY-OV.dwg
GWKEY-A-.dwg
GWKEY-B-.dwg
GWKEY-C-.dwg
GWKEY-D-.dwg
GWKEY-OV.dwg
GYKEY.dwg | Title | in drawing?
I1183sht_F.dwg | I1183sht_F
i1184.dwg | i1184
I1184sht_F.dwg | I1184sht_F | 1
I1184sht_FC.dwg | I1184sht_FC
I1184sht_F-cpi.dwg | I1184sht_F-cpi
I1184sht_F-els.dwg | I1184sht_F-els
I1184sht_FF.dwg | I1184sht_FF
I1184sht_FG.dwg | I1184sht_FG
I1185sht_FC.dwg | I1185sht_FC
I1185sht_FF.dwg | I1185sht_FF
I1185sht_FG.dwg | I1185sht_FG
I1185sht_FL.dwg | I1185sht_FL
I1186sht_FF.dwg | I1186sht_FF
I1186sht_FL.dwg | I1186sht_FL
I4229sht_F.dwg | I4229sht_F
I4229sht_FF.dwg | I4229sht_FF
I4229sht_FFD.dwg | I4229sht_FFD
IABE0700.dwg
IABT0700.dwg
IABU0700.dwg
IOG-1-OV.dwg
IOG-4-C-.dwg
IOG-4-G-.dwg
SKEY.dwg
SKEY-J0.dwg
SKEY-JA.dwg
SKEY-M0.dwg
SKEY-MA.dwg
SKEY-MB.dwg
SKEY-MBR.dwg
SKEY-MC.dwg
SKEY-MD.dwg
SKEY-N0.dwg
SKEY-NA.dwg
SKEY-NB.dwg
SKEY-NC.dwg
SKEY-ND.dwg
SKEY-P0.dwg
SKEY-PA.dwg
SKEY-PB.dwg
SKEY-PC.dwg
SKEY-PD.dwg
SKEY-T0.dwg
SKEY-TA.dwg
SKEY-TB.dwg
SKEY-TC.dwg
SKEY-TD.dwg
SKEY-U0.dwg
SKEY-UA.dwg
SKEY-UB.dwg
SKEY-UC.dwg
SKEY-UD.dwg
SKEY-V0.dwg
SKEY-VA.dwg
SKEY-VB.dwg
SKEY-VC.dwg
SKEY-VD.dwg
SKEY-W0.dwg

## chk13
0 |  | G-KEYNOTE
0 |  | G-HEX
0 |  | G-L-HEX
0 |  | G-SQ
0 |  | G-RECT
0 |  | G-S-CIRC
0 |  | G-DIAMD
0 |  | G-S-DIAMD
0 |  | G-OVAL
0 |  | G-L-OVAL
0 |  | G-RTRIA
0 |  | G-NEWCONN
0 |  | G-ELEV
0 |  | G-DATM
0 |  | G-ARROW1
0 |  | G-ARROW
0 |  | G-PIPEBK1
0 |  | G-MSC-BK1
0 |  | G-PIPEBK2
0 |  | G-PITCH
0 |  | G-DETAIL
0 |  | G-SECCUT1
0 |  | G-SECCUT3
7 | G-DONUT | G-DONUT
0 |  | G-SECCUT2
0 |  | G-EYEBALD
0 |  | G-SECCUTD
0 |  | G-INORTH
0 |  | G-DOT
0 |  | G-FA-L
0 |  | G-FA-R
0 |  | G-LFA
0 |  | G-RARROW
0 |  | G-SARROW
0 |  | G-X
0 |  | G-LTLP
0 |  | G-GRSC010
0 |  | G-GRSC020
0 |  | G-GRSC040
0 |  | G-GRSC050
0 |  | G-GRSC060
0 |  | G-GRSC080
0 |  | G-GRSC100
0 |  | G-GRSC200
0 |  | G-GRSC125
0 |  | G-GRSC250
0 |  | G-GRSCI02
0 |  | G-GRSCI04
0 |  | G-GRSCI08
0 |  | G-GRSCI16

## chk17
Allowable line types
BYBLOCK
BYLAYER
CONTINUOUS
SDASH3
SDASH2
SDASH1
SDASH
DASH
MDASH
MDASH1
LDASH
LDASH1
LDASH2
LDASH3
SCENTER
CENTER
MCENTER
LCENTER
SPHANTOM
PHANTOM
MPHANTOM
LPHANTOM
SDOT
DOT
MDOT
LDOT
SDASHDOT
DASHDOT
MDASHDOT
LDASHDOT
SDIVIDE
DIVIDE
MDIVIDE
LDIVIDE
SBORDER
BORDER
MBORDER
LBORDER
CW
HW
RHW